| Personal Protective Equipment Hazard Assessment Certification |  |
| --- | --- |
| Job Title: Laboratory Worker | Date: 09/17/03 |
| Department: All | Supervisor: |
| Location / Worksite: Research Buildings | Analysis: Dave Erickson |
| Employee Name(s): | Signature: |
| Tasks, Job Classification or Workstation | Potential Hazard | Type of PPE Required | PPE Required (Yes / No) |
| Working with crygenic liquids | Major skin, tissue and eye damage | Chemical splash goggle and face shield Heavy insulated gloves Lab coat, closed shoe, pants | Y |
| Working with very cold materials and equipment (freezers, dry ice) | Frostbite Hypothermia | Safety glasses Insulated gloves and warm clothing Lab coat, closed shoe, pants | Y |
| Working with hot liquids, equipment and/or open flames (autoclave, bunsen burner, waterbath, oil bath) | Skin damage Eye damage | Safety glasses or goggles for large volumes or splash hazards Insulated gloves Lab coat, closed shoe, pants | Y |
| Working with large volumes of hot, cold, or cryogenic liquids | Major skin and eye damage Frozen or burned body tissues | Safety glasses or goggles and face shield Heavy insulated gloves Above clothes and apron or coveralls | Y |
| Working with Ultraviolet Radiation | Conjunctivitis Corneal eye damage Erythema | UV face shield and goggles Lab coat, closed shoe, pants | Y |
| Working with LASER radiation | Retinal eye damage Skin damage | Appropriate shaded goggles with optical density based on individual beam parameters Lab coat, closed shoe, pants No jewelry/reflective items allowed | Y |